Lecture 13:  Device Regulation

- What is the mission of the FDA?;

- What branch of the FDA regulates biomedical devices?;

- Differentiate between Phase I, II & II clinical trials;

- What is meant by the term “GMP”;

- How is adverse event reporting useful?;

- What is meant by the term “PMA”;

- What is meant by the term “regulatory environment”;

- What is the significance of the 1976 medical device amendment;

- What is the difference between 510K and PMA;

Lecture 14: Device Development:

- Provide a regulatory definition of a biomedical device;

- Describe the various issues that need to be considered during the development of a typical biomedical device;

- What is meant by the terms “process validation” and “design control”;

- What is meant by “ISO”;

- What is meant by the terms “identification and traceability”;

- What is meant by the term “nonconforming product”;

- List the considerations that are necessary for proper design control documentation;

- Describe the various phases in product design and development;

- Describe what sort of things occur in the conceptual phase of product design;

- What is meant by the terms “Design input” and “design verification”;

- What are the three key elements in device development;

- What is meant by the term “risk analysis”;

- What are some of the tests that are needed to validate a particular design prior to transfer to the manufacturing group.

Lecture 15:  Biomaterials related infections

- What are the most common classes of infectious agents;

- What is the significance of implant associated infections;

- Provide to examples of devices that are particularly susceptible to infection;

- How are iv catheters thought to become infected;

- What is meant by the term “nosocomial infections”;

- What chemical mechanisms mediate attachment of infectious agents to biomedical devices;

- List several common pathogens of implanted devices;

- What is meant by the term “biofim”;

- Draw a graph describing the behavior of bacteria interacting with a hydrophobic versus hydrophilic materials as a function of time;

- In terms of biomaterials, what is meant by the terms “strain variability”

Lecture 16: Prevention and Sterilization

- Why are prosthesis related infections difficult to treat;

- Outline the different biological mechanisms that bacteria can bind to biomaterial surfaces and living tissue;

- What is meant by the term “human contamination”;

- Describe how human contamination is controlled in the biomedical device industry;

- From a biomedical device perspective explain what is meant by the term “sterilization”;

- How has the development of plastics affected the incidence of nosocomial infections;

- List the major forms of sterilization used with biomedical devices and describe their mechanisms of killing;

- What are the advantages and disadvantages of sterilization by heat;

- What are the advantages and disadvantages of sterilization by ethylene oxide;

- What is the mechanism of pathogen death associated with the application of heat, EtO, and gamma radiation;

- What are the advantages and disadvantages of sterilization by penetrating radiation;

- What types of processes are available to sterilize liquids; and,

- Differentiate the terms in house sterilization from contract sterilization.

Lecture 17:  Surface Coatings

- Explain what is meant by the term “surface coating technology” and why it is important in the study of biomaterials;

- Form an industry perspective, rationalize the importance of surface coating technology;

- Relative to surface coatings, what is meant by the term “biologically inspired solution”?; Provide an example or two;

- Describe several methods used to influence protein binding at interfaces and provide a rationale for how each of them is believed to function?;

- What is meant by the term “steric repulsion”?;

- What is meant by the term “plasma treatment” and how does it work?;

- List three important methods used to modify the surface of biomaterials;

- What is meant by the term “surfactant” and how are they applied as surface modifying agents?;

- What is PEO and how is it employed in surface coating technology?;

- From the biomedical device industry perspective, list the characteristics of an ideal surface treatment?;

- What is a weakness of surfactant based surface treatments?;

- What is meant by the term covalent surface immobilization and what are its advantages over surfactant based techniques?

Lecture 18: Anti-infective Coatings

- Describe what is meant my the term “hybrid device”;

- Provide several examples of biomedical devices that would benefit from a drug eluting capability and explain why;

- Explain what is meant by the term “site specific delivery” and why it is advantageous in the context of an anti-microbial coating:

- Provide three examples of implants that would benefit from anti-infective or anti-microbial coatings:

- Why are the devices listed above particularly susceptible to infections;

- Describe and differentiate four different anti-infective coating strategies;

- From a business  and industry standpoint, what are the drawbacks to anti-infective coatings;

- List the characteristic of an ideal surface treatment;

Lecture 19: Sutures and Wound Dressings

- Describe what is meant my the term “Wound Care Market”;

- List the goals of a typical wound care product;;

- What are the four principle stages of wound healing and when do they typically occur;:

- From a clinical perspective, list the three main medical practices involved in wound care management:

- What can color tell you about a wound and its care;

- Define a suture and provide several examples of materials that are use as sutures;

- From the industrial perspective, list the biomaterias testing requirements for sutures;

- List three different methods to close a wound;

- List three different types of traditional wound care product and describe the advantages of one type what is meant by the term “tissue engineering”

- Describe a tissue engineered wound care product and list its clinical indications;

Lecture 20: Elastomers

- Provide a definition for the term “elastomers” and provide two examples of the most commonly used materials in this class;

- Draw a stress strain curve demonstrating how a typical elastomer differs from a typical thermoplastic material;

- Explain why polyisocyanates are very reactive;

- Provide a generic formula that describes the basic reaction that underlies the formation of a polyurethane oligmer;

- What is the difference between a poluyurethane and a polyurethane urea?;

- What is meant by the term “segmented polyurethane”?:

- Provide a structural model that explains the structure/ properties relationship of a typical segmented polyurethane;

- Upon stress a polyurethane sample you are testing relaxes.  Using a schematic diagram, provide an explanation of the results;

- Provide two synthetic strategies for changing the physical properties of a typical segmented polyurethane;

- How would you vary the hardness of a particular type of polyurethane?

- Explain what is meant by the phrase “segmented polyurethanes are susceptible to degradation in the bodily tissues”.

Lecture 21:  Applications in Cardiology

- Want is meant by the term “silicones”?;

- Describe in general terms a typical synthetic scheme for a silicone consisting of half PDMS and half polysiloxane;

- Describe the basic process of silicone multi-lumen catheter extrusion;

- Provide several examples of biomedical devices made from poly(siloxanes);

- List three attributes of poly(siloxanes) that make them a favorite material for biomedical devices;

- List four major application areas for biomaterials in Cardiology;

- What is a vascular graft and how are they used;;

- Why is there a need for artificial vascular grafts?;

- What are the three major types of vascular grafts?

- What are the ideal properties of a vascular prosthesis?;

- What are the common complications with any type of vascular graft?;

- What is meant by the term “vascular access device” and what are they used for?;

- Differentiate between the four main types of vascular access device;

- List three biomaterial applications in cardiac repair;

- List several reasons for heart valve failure?

- What are the most common complications of heart valves?

- What is meant by the term “cardiac pacemaker” and what are their basic component parts;

- In your opinion, what is the most important material used in cardiological applications and why;